## Slide 1: Setup

## Slide 2
Physics Seminar...SJSU
Thursday, November 20, 2014
Science 242, 4:30 PM
San Jose State, 1857 -> Today
“Challenges Confronting the Physics of Superconductivity in the 21st Century: From Nanoscale Theories to Exascale Energy Applications”
Paul Michael Grant
EPRI Science Fellow (Retired)
IBM Research Staff Member/Manager Emeritus
(etc, etc...& so forth and so on)
W2AGZ Technologies
San Jose, CA 95123, USA (w2agz@w2agz.com)
Aging IBM Pensioner

## Slide 3
To
Electric Power Delivered
From Electrons Paired
…And… Back
Again
?
-- A Personal Journey in Applied Physics --
-- IBM, EPRI, and Beyond --
Paul M. Grant
IBM (1953-1993)
Joined 1953 (age 17)
SAGE/NORAD (MIT)
Clarkson/Harvard
Magneto-optics
Displays/Printers
Organic Conductors
DFT
Superconductivity
High-Tc
Sabbatical (UNAM)
EPRI (1993-2005)
High-Tc Power Apps
Wide Bandgap SCs
Power Electronics
“Hot” Fusion
“Smart Grid”
“SuperGrid”
“Climate Change”
Visionary Energy Societies
W2AGZ (2005-?)
Due Diligence
Tet-CuO (Stanford)
“Proxy” DFT
RTSC via DFT
IASS Potsdam
Dual Use of NG Pipeline ROWs for Co-transport of Electricity via HTSC Cables (e.g., Keystone)

## Slide 5: Fathers of Cryogenics
Dewar
Kammerlingh-Onnes
CH4 112 K
O 90
N2 77
Ne 27
H2 20
He 4.2

## Slide 6: Models of Electrical Conductivity
The Most Popular:
R
T
Freezes Out!
e-

## Slide 7: Models of Electrical Conductivity
Reality:
R
T
Limited by
Impurities!

•
e-

## Slide 8: 1911 A Big Surprise!
Thus the mercury at 4.2 K has entered a new state, which, owing to its particular electrical properties, can be called the state of superconductivity
Gilles Holst, H. Kamerlingh-Onnes (1911)

## Slide 9: Magnetic Properties
0
-1/4

T
H off
H on
Expected (Lenz’ Law)
0
-1/4

T
H on
H on
Weird ! (Meissner Effect)

## Slide 10: They all tried… and failed!

## Slide 11: They came close...
Fritz
London
“The B-field does penetrate.”
E ~ 2 dJ/dt, B ~ 2 J
Lev
Landau
“Since SC is a second-order phase
transition, there must be an order
parameter involved.”
Herbert
Froehlich
“TC depends on the mass of the atoms
(isotope effect), so the SC must be
tied to lattice vibrations (phonons).”

## Slide 12: They Got It Right!
B ----- C ----- S
Bardeen: “It’s a macroscopic quantum state”
Cooper: “It’s got twice the charge you’d expect”
Schrieffer: “’s a statistical wavefunction”
There has to be a regime
where the lattice vibrations
act to bind electrons together
rather than scatter them with
loss as given by Ohm’s Law.

## Slide 13: “Cooper’s Problem”

## Slide 14: Physics of Superconductivity
+
+
+
+
•
e-
•
e-
Electrons Pair Off!
BCS Equation

## Slide 15
Electron-Phonon Coupling a la Migdal-Eliashberg-McMillan (plus Allen & Dynes)‏
Wierzbowska, et al, arXiv:cond-mat/0504077 (2006) (Nb)

## Slide 16: Type II (1930s +)
Lev Shubnikov
Lev Landau
“VL” Ginzburg
Aleksei Abrikosov

## Slide 17: GLAG – “Engineering” Superconductors

## Slide 18: Important Numbers in Superconductivity
Transition Temperature, TC Way below 300 K
Critical Current Density, JC 10-2 - 106 A/cm2
Critical Magnetic Field, HC 10-4 - 10 T
London Penetration Depth,  10 - >1000 Å
Pippard Coherence Length,  10 - >1000 Å
G-L Parameter,  = / 0.01 - 100
NB! All these numbers depend on each
other. E.g., HC ~  

## Slide 19: TC vs. Year: 1911 - 1980
Year
0
5
10
15
20
25
1900
1910
1920
1930
1940
1950
1960
1970
1980
Temperature (K)
Hg
Pb
NbN
V3Si
Nb3Sn
Nb3Ge
Cubic Metals

## Slide 20: Properties

## Slide 21: MRI & “Big Physics”
Magnetic Resonance Imaging
Philips
Tevatron
Fermi National Laboratory

## Slide 22: 1986 Another Big Surprise!
Bednorz and Mueller
IBM Zuerich, 1986
Onset TC = 40 K !

## Slide 23: 1987 “The Prize!”

## Slide 24: March 3, 1987 “123” Discovered

## Slide 25: Woodstock of Physics NYC, 1987
Physicists’ Night Out!

## Slide 26
HTSC Symposium, MRS Spring Meeting, Anaheim, 23-24 April 1987
“The Altamont of Materials”

## Slide 27: “The Great Communicator”
Notes: 27

## Slide 28: Today
Year
Tc (K)

## Slide 29: Gen II Coated Conductor
American Superconductor
SuperPower

## Slide 30: Where Can We Apply Superconductivity to Electric Power?
Potentially Everywhere
Notes: 30

## Slide 31
It is now 27 years after
“Woodstock and Altamont,”
yet two major issues remain unresolved:
“The Nanoscale:”
How does HTSC even occur? We know it’s BCS, but
what’s the “pairing glue?”
“The Exascale:”
Despite more than 20 years of very successful HTSC wire development possessing outstanding critical state properties, and its use in equally outstanding and successful power application demonstrations in the US, Japan, China, Korea, Germany, Russia..., there remains no significant deployment of such technology by either government agencies or investor-owned utilities.
How come?

## Slide 32: Hubbard Theory

## Slide 33
DFT & (LDA + U)‏
Implemented in LMTO by Anisimov, et al, JPCM 2, 3973 (1990)‏
  Applied to NiO, MnO, FeO, CoO and La2CuO4
Plane-Wave Pseudopotential Implementation by Cococcioni and de Gironcoli, PRB 71, 035105 (2005)‏
  Applied to FeO and NiO
  Download open-source package from http://www.pwscf.org

## Slide 34
Charge Transfer Insulator
After Imada, et al, RMP 70, 1039 (1998)‏

## Slide 35: Cubic Rocksalt Divalent TMOs
TMO 3d Config Properties
MnO 5 MH-CTI (5.6)‏
FeO 6 MH-CTI (5.9)‏
CoO 7 MH-CTI (6.3)‏
NiO 8 MH-CTI (6.5)‏
CuO 9
XX Doesn't Exist!

## Slide 36
“Real Metal” “Fermi Liquid”
“Funny Metal” “Pseudogap” “Fond AF Memories”
Superconductivity
“SDW” “NEEL” “A-F”
T
g
g*
“Insulator”
“Conductor”
“Funny Metal” “Pseudogap” “Fond AF Memories”
The Colossal Quantum Conundrum
U~U0 exp(-α g), g < g*; 0, g > g*
Somewhere in here there has to be “BCS-like” pairing!
U = 6
U = 0
U = 3
Our Proxy HTSC!
“Undoped Rocksalt
Copper Monoxide”
NB2: For U < 6 eV, it’s a metal!
NB1: These BZ’s & FS’s reflect an af-ordered, 2x periodic primitive unit cell.

## Slide 37
“Put-on !”
IOW, What’s theFermion-Boson Interaction That Leads to HTSC?
Notes: 37

## Slide 38: The Pairing Glue
“Alex says it’s phonons”
OK, OK...J-T polarons and/or bipolarons (after Chakravarty/Hoest)
Could he be right after all?

## Slide 39
Macfarlane, Rosen, Seki, SSC 63, 831 (1987)
(These data were taken in early March, 1987, a week before “Woodstock”)
Raman Spectroscopy of YBCO
Hey! Maybe, they’re there!

## Slide 40: More Phonon Phootprints!
Pyka, et al., PRL 70, 1457, (1993)
Harashima, et al., Physica C263, 257 (1996)

## Slide 41
...and More!

## Slide 42
Ledbetter, Physica C 235, 1325 (1994)
Finally, TC scales (roughly) with D !
Nota Bene!
“S” denotes Ca, Sr, Ba

## Slide 43: What Can DFT(LDA+U) Along With Eliashberg-McMillan-Allen-Dynes (EMAD) Formalism Tell Us About e-p Mediated Pairing in the Copper Oxide Perovskites?
Assume the simplest and highest symmetry possible Cu-monoxide to model (e.g. cubic or tetragonal rocksalt CuO...see Grant (Proc IOP (2008) and Siemons, et al., PRB (2009)).
Apply the Quantum-Espresso DFT Package to calculate the eigenspectrum and e-p coupling for these proxy structures, followed by application of EMAD to estimate Tc (Grant, Proc. MRS, to appear).
Perform the above for both hole and electron doping levels 0.15|e|/CuO under the assumption these levels of carrier densities effectively screen Hubbard U (see “Quantum Conundrum”)

## Slide 44: So let’s do it and “compute” what happens!
≈ 43 °K
≈ 25 °K
Assumptions: ≈ 440 K, * ≈ 0.01, a = 3.06 Å, c/a = 1.3 (nmTet cell)
q = 0.15 |e|/CuO (holes)
q = -0.15 |e|/CuO (electrons)
 = 1.2
 = 0.7

## Slide 45: OK...What’s Next (Materials-Wise)?
Force-epi 10 monolayers of tet-CuO
  Overlay with 2 monolayers of Li as “neighborhood” dopant...look for SC
  Trying this right now at Stanford!
  “Topological Metal?” 
Look for explicit “phonon-spinon” coupling:
  “Paramagnetic Dispersion Measurements at 77.3 K,” C. Starr (MIT). Examines the coupling between spins and phonons in transition metal carbonates and hydrates.
  Published in Phys. Rev. 60, 241 (1941!)
  Have such studies been done on the copper oxide perovskites? If not, why not?
Apparently no DFT(LDA+U) tools yet exist to calculate electron-phonon  in the presence of a finite Hubbard U...why not?

## Slide 46: Now for something slightly bigger... by 1019 (Exascale!)
SuperCity
SuperSuburb
SuperGrid
SuperTrain

## Slide 47: HTSC SuperCables: Past, Present, and...Future?
EPRI SCDC
100 kV, 100 kA, 10 GW
Sumitomo 66 kV 3-in-1
Furakawa, 275 kV, 3 kA
St. Petersburg, Russia
~ 1997
~ 2014

## Slide 48: Required Reading! (Thanks to Steve Eckroad, EPRI)
Two EPRI Reports (available free from epri.com or w2agz.com)
  (2012) Superconducting Power Equipment; Technology Watch 2012 (1024190)
  (2013) SIU: Superconductivity for PDA (03002001)
Bottom Lines:
  Work continues on wire improvement and power application demonstration, although not at the pace of a decade ago.
  HTSC materials performance and costs have matured.
  What’s needed is a strong business case for HTSC power applications.
  So...does there exist a “compelling need,” now or in the next decade, to effect a major and continuing deployment of HTSC in the electricity enterprise?

## Slide 49: Pacific Intertie
HVDC, +/- 500 kV, 3.1 kA, 3.1 GW
1,362 km
~50% of LA Power Consumption
T&D Losses ~ 10%
Tear down the PI and replace with HTSC underground cables to capture this saving?
Ain’t gonna happen, baby!
Not a “compelling need!”
Even should the cost of the wire be zero!

## Slide 50: However, do we have a “compelling new opportunity elswhere?”
P.M. Grant, EPRI, 1998
...& hydraulic fracturing , aka “fracking”

## Slide 51: Why not make dual-use of emerging gas pipeline rights-of-way to transport electricity via HTSC cables?
Natural Gas & Electricity!
Chart: 
| Coal | Natural Gas | Nuclear | Hydroelectric | Renewables | Other
2012 | 0.38407 | 0.31155 | 0.19475 | 0.070003 | 0.055384 | 0.010612
2012 USA Electricity Generation by Primary Fuel Source
Wow!
“Fraternal Twins,”
Smart Grid News
16 April 2013

## Slide 52: Well...Let’s Have a Look!
TVA Study...2001

## Slide 53: Does “Keystone XL” Provide a “Compelling Opportunity” to “Raise Our Fraternal Twins?”
Let’s encourage DOE to enlist EPRI, GTI, EIPC, INGAA,...in a collaboration to conduct an “engineering economy” study focused on the dual-use ROW concept.

## Slide 54
...and in the long term...
Electricity Conversion Assumptions
Wellhead Power Capacity | 18 GW (HHV)
Fraction Making Electricity | 33%
Thermal Power Consumed | 6 GW (HHV)
Left to Transmit as LNG | 12 GW (HHV)
CCGT Efficiency | 60%
Electricity Output | 3.6 GW (+/- 18 kV, 100 kA)
“Cryodelivery Systems for the Cotransmission of Chemical and Electric Power,”
P.M. Grant, AIP Conf. Proc. 823, 291 (2006).

## Slide 55
o Wroclaw
The Wola Obszańska (Lublin) gas field in Poland/Ukraine was discovered in 1989. It began production in 1992 and produces natural gas. The total proven reserves of the Wola Obszańska gas field are around 37 billion cubic feet (1×109m³). “Dual-Pipe” to Berlin?
Let’s Not Forget Europe!

## Slide 56: Back to the Future (of Nanoscale!)
The Grand Challenge of Materials Science: Can we make a room temperature superconductor?
  Bill Little says “yes” (1963)...simply surround a 1D metal chain with polarizable molecules and use “excitons” as the “pairing boson.”
  Problem: Periodic 1D metals are unstable and want to became insulators (dimerization).
Solution:
  Create a 1D Fibonacci (quasiperiodic) chain of “metal” atoms that resists CDW and dimerization “gapping” instabilies on a suitable “polarizable” substrate.
  How? “Decorate” a dislocation line on the [100] surface of STO, SRO, Si...

## Slide 57: A Fibonacci “Dislocation Line”
tan  = 1/ ;  = (1 + 5)/2 = 1.618… ;  = 31.717…°
STO ?
SRO !
Al
Al
Al
Al
Al
Al
Al
L = 4.058 Å (fcc edge) s = 2.869 Å (fcc diag)
From P.M. Grant, APS March Meeting, Portland, OR (2010)

## Slide 58
Does the Hold the Key to Room Temperature Superconductivity?
50th Anniversary of Physics Today, May 1998

## Slide 59: Lessons from “Four Aging British Philosophers”
...for engineers and physicists under 50...

## Slide 60: “You can’t always get what you want…”

## Slide 61: “…you get what you need!”