## Slide 1
“Whither Superconductivity for Electric Power?”
Paul Michael Grant
EPRI Science Fellow (Retired)
IBM Research Staff Member/Manager Emeritus
(etc, etc...& so forth and so on)
W2AGZ Technologies
San Jose, CA 95123, USA (w2agz@w2agz.com)
Aging IBM Pensioner
15:55-16:20 Th-S48 Room 3 Thursday 27 August 2015

## Slide 2: Memories... (I think...)
M2S Interlaken ’88 – Tc 125 K Tl-2223
“Missing in Action”

## Slide 3: “Fall Out” from M2S Interlaken 1988

## Slide 5: The Holy Grail of HTSC

## Slide 6: “The Short Story”
Following the 1911 discovery, Kamerlingh Onnes attempted the construction of an electromagnet...unsuccessfully.
Throughout the second half of the 20th Century and up to the present, many successful demonstrations of superconducting cables, transformers, current limiters, storage units, rotating machinery, etc., have been carried out. Yet, to date, no significant markets (> 108 USD/yr) have emerged for deployment worldwide in the Electricity Enterprise.
  For a 1997 review, see “Superconductivity and Electric Power: Promises, Promises...Past, Present and Future,” P. M. Grant, IEEE Trans. Appl. Supercon. 7, 112 (1997). Available on request from www.w2agz.com.
  Today, the principal “power” applications of superconductivity remain cabling and deflection magnets for hadron colliders and solenoids for medical MRI.
What might constitute a “Longer Story?”
  Advancing a current “technology addiction.”
  Satisfying a compelling social need.
  Identifying a new opportunity.

## Slide 7: Electricity is Plentiful
...and Cheap!

## Slide 8: “New Opportunities”
The IFCL-HTS “Project Hydra” or “AmpaCity;” the AMSC/DHS, Nexans/RWE concepts.
Dual Use of emerging energy/power transport corridors.

## Slide 9: IFCL-HTS “I” = “inherently”
What is it?
Substation “A”
Substation “B”
Superconducting Cable
A Transient Model of High-Temperature Superconducting Cables in Electric Power Supply
Kim Hoj Jensen and Vladislav Akhmatov
(Tech. U. Denmark, 2005?)
AMSC US Patent 8,886,267,B2 Nov. 11, 2014

## Slide 10: IFCL-HTS “Implementations”
AmpaCity – Essen (RWE, Nexans, KIT,...)
Pilot operation in progress
Funding: 13.5 M Euros
  Nexans 36%
  RWE 33%
  BMWi 25%
  KIT 6%
Next...Muelheim (2020) ?
Project Hydra – (AMSC, ConEd, DHS,...)
First proposed in 2007 by DHS
Funded by DHS at 30 M USD
Contracted with AMSC & ConEd for installation in mid-Manhattan
Put on hold in 2011
Project moved to two adjacent substations in Yonkers
Cable conductor now sits on site
Future “uncertain”

## Slide 11: DHS “Resilient Electric Grid” (2015)
Objective: Protection of the US Grid against:
  Natural Disasters
    e.g. “SuperStorm Sandy”
  “Unnatural” Disasters
    1960-70 attacks on California & Oregon substations by the SLA and environmental extremists
    Most recent 2013 attack on PGE Metcalf transmission substation in San Jose
“Due Diligence” Study Underway
  Objective: Assess the risk and readiness of the US (and some international ) HTSC wire, cable, and cryogenic companies to undertake large scale production necessary to implement the REG
    e.g., would Gen I wire be sufficient, or is Gen II really needed, or both?
  DHS and EPRI have formed a 7 person team of “experts” to report their recommendations by 4Q15.
    Full Disclosure: I’m a member! Con Quidado!

## Slide 12: “Dual Use” of Energy Transport Corridors Electricity Generation by Primary Fuel Source (2011-12)
Europe
USA
Wow!

## Slide 13: The “Dual Use” Concept Embodied
Almost all NG used for electricity generation is “combusted” at a “local” delivery point using modern, efficient, combined cycle gas turbine (CCGT) technology.
Why not “combust” that gas portion so-used at the “well-head” instead and deliver the “electrons” over a low-loss HTSC dc cable? As well as reducing volume...and...frictional loss due to NG transported by pipeline.
...and...consider “recycling” well-head generated CO2 emissions into alcohols...and “pipe” those down the same ROW!
The ROW Dual Use concept has been documented in several peer reviewed journals as well as member magazines of the APS, IOP, IEEE, and Nature...contact the author/speaker for a linkable anthology.

## Slide 14: Opportunities to Exploit the Keystone XL Pipeline ROW for the Dual Transport of Chemical and Electrical Energy
Smart Grid
Fraternal Twins
2013 P. M. Grant’s Editorial in Smart Grid News

## Slide 15: Now for 60 Seconds of Science
Five Cosmic Questions needing Cosmic Focus on
Materials and Mechanisms of Superconductivity

## Slide 16
“Real Metal” “Fermi Liquid”
“Funny Metal” “Pseudogap” “Fond AF Memories”
Superconductivity
“SDW” “NEEL” “A-F”
T
g
g*
“Insulator”
“Conductor”
“Funny Metal” “Pseudogap” “Fond AF Memories”
U = 6
U = 3
U = 0
The Colossal Quantum Conundrum
(According to John Hubbard)

## Slide 17
“Real Metal” “Fermi Liquid”
“Funny Metal” “Pseudogap” “Fond AF Memories”
Superconductivity
“SDW” “NEEL” “A-F”
T
g
g*
“Insulator”
“Conductor”
“Funny Metal” “Pseudogap” “Fond AF Memories”
U = 6
U = 3
U = 0
The Colossal Quantum Conundrum
-- HTSC/RTSC...Five Cosmic Questions --
Is it “shakes or spins”...or both?
Is “bulk SC” a function of g* ?
Where is Pr-123 ?
When and where can we use HTSC/RTSC in the Electricity Enterprise?
What about RTSC?